INDIAN STATISTICAL INSTITUTE
DELHI CENTRE
[image: image1.png]UNITY IN DIVERSITY



Gram: STATISTICA, NEW DELHI 


       

        7, SJS, SANSANWAL MARG

Phone: 91-11-41493980




       
        NEAR QUTAB HOTEL

Fax:
91-11-41493981





        KATWARIA SARAI

Email: sethi@isid.ac.in 




       
        NEW DELHI-110016
No.D/ISI/DCE/043/2013





      Dated: 21.03.13
QUOTATION  
Sealed Quotations are invited so as to reach this office on or before 28.03.13 and shall be opened on the same date at 3.00P.M. in front of whosoever present.  

Subject:- Repairing & renovation works in Flat No. D-5  in ISI Campus, Delhi Centre, New Delhi.
	S.No.
	Description
	Qty.
	Unit
	Rate
	Amount

	1
	Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-charge, in skirting, risers of steps and dados, over 12mm thick bed of cement mortar 1:3 (1cement : 3coarse sand) and jointing with grey cement slurry @ 3.3kg. per sqm, including pointing in white cement mixed with pigment of matching shade complete. 
 
	22.26 M2
	Sqm. 
	
	

	2
	Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS: 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 Coarse sand), including pointing the joints with white cement and matching pigment etc., complete. 
	35.44M2
	Sqm. 
	
	

	3
	Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar location of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. 
Granite of any colour and shade.
Area of slab over 0.50sqm.  
	2.63 M2
	Sqm.
	
	

	4
	Providing adge moulding to 18 mm thick marble stone counters, Vanities etc. including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. 
(Granite work)
	4.4 M
	Meters 
	
	

	5
	Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lug or dash fastener be paid for separately).
(Kiln seasoned and chemically treated hollock wood)
	0.18M3
	Cum
	
	

	6
	Extra for providing ISI marked Stainless Steel butt hinges instead of M.S. pressed butt hinges bright finished of required size with necessary screws. (Shutter area to be measured.) 
	7.6 M2
	Sqm. 
	
	

	7
	Providing and fixing ISI marked flush door shutters conforming to IS: 2202 (part 1) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 
(25 mm thick (for cupboard) including ISI marked nickel plated bright finished M.S. piano hinges with necessary screws)
	3.00 M2
	Sqm. 
	
	

	8
	Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured.)
	5.04 M2
	Sqm. 
	
	

	9
	Providing and fixing wire gauge shutters using galvanized M.S. wire gauge of average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm, for doors, windows and clerestory windows with hinges and necessary screws: 
35 mm thick shutter

Kiln seasoned and chemically treated hollock wood  
	4.8 M2
	Sqm. 
	
	

	10
	Providing & Fixing wash basin (550x400) 
	1 Nos. 
	Each 
	
	

	11
	Providing and fixing aluminum sliding door bolts, ISI marked anodized (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 
300 x16mm
	3 Nos. 
	Each 
	
	

	12
	Providing and fixing aluminum tower door bolts, ISI marked anodized (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 
250 x 10mm

150 x 10mm
	10Nos.
12 Nos.
	Nos.  
Nos. 
	
	

	13
	Providing and fixing aluminum handles, ISI marked, anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete: 
125 mm
75 mm 
	10 Nos. 
12 Nos. 
	Each 
Each 
	
	

	14
	Providing and fixing aluminum hanging floor door stopper, ISI marked, anodized (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. 
(Twin rubber stopper) 
	6 Nos. 
	Each 
	
	

	15
	Providing and fixing 2nd class teak wood lipping/ moulded beading or taj beading of size 18x5 mm fixed with wooden adhesive of approved quality and screws/ nails on the edges of the Pre-laminated particle board as per direction of Engineer-in-Charge. 
	31.2 M
	Meters
	
	

	16.
	Providing and fixing magnetic catcher of approved quality in cupboard/ward robe shutters, including fixing with necessary screws etc. complete. 

Double strip (horizontal type)
	6 Nos. 
	Each 
	
	

	17
	Applying priming coat:

(with ready mixed pink or Grey primer of approved brand and manufacture on wood work ( hard and soft wood)
	31.31M2
	Sqm. 
	
	

	18
	Painting with oil type wood preservative of approved brand and manufacture:

New work (Two or more coats) 
	31.31M2
	Sqm.
	
	

	19
	Painting with synthetic enamel paint of approved brand and manufacture to give an even shad: 

(Two or more coats on new work)
	31.31M2
	Sqm. 
	
	

	20
	Replacing Indian W.C. commode with European W.C. commode, providing & fixing C.I. W.C. trap, C.I. pipe etc. including demolishing cement concrete flooring in sunken portion & making good the same.    
	1 Nos. 
	Each 
	
	

	21
	Replacing old rusted GI pipe and fittings inclusing making chases in brick work and embedding GI pipe  and fittings including providing andfixing and concealed fittings Hot & Cold mixture including making good the walls etc. complete
	1 Nos
	Each
	
	

	22
	Providing & fixing 18 mm thick, 150mm wide pelmet of flat pressed 3 layer or graded woood particle board  medium density grade I,IS:3087 marked, including top cover of 6 mm commercial ply wood conforming to IS: 303 BWR grade, nickel plated M.S.pipe 20mm  dia( heavy type) curtain rod with nickel plated brackets, including fixing with 25*3 mm M.S. flat 10cm long fixed to pelmet with hollock wood cleats of size 100 mm *40mm*40mm on both inner side of pelmet  and rawl plugs 75 mm long etc. all complete. 
	4.00 m 
	meter
	
	

	23
	Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4mm in both directions with wire of dia 0.63 mm all complete. With 12 mm mild steel U beading 
	6.00 M2 
	sqm
	
	

	24
	Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 meters lead.
	33.22 M2
	sqm
	
	

	25
	Disposal of building rubbish /malba/similar unserviceable,dismantled or waste materials by mechanical means, including loading, transporting , unloading to approved municipal dumping ground or as approved ny Engineer – in – charge, beyond  50 m initial lead, f or all leads including all lifts involved.
	4.32M3
	cum
	
	

	26
	12mm cement plaster of mix: 1:6(1 cement :6 fine sand)
	8M2
	sqm
	
	

	27
	Providing and fixing kitchen sink including making all connections excluding cost of fittings.

White glazed fire clay sink of size 600*450*250mm
	1nos
	Each
	
	

	28
	Providing and fixing 600*450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete.
	1 nos
	Each 
	
	

	29
	Providing and fixing 600*120*5 mm glass shelf with edges round off, supported on anodized aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete 
	1 nos
	Each
	
	

	30
	Providing and fixing toilet paper holder: 

C.P. Brass
	1 nos
	Each
	
	

	31
	Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighting not less than 105 gms. 
	1 nos
	Each
	
	

	32
	Providing and fixing PTMT towel ring trapezoidal shape 215mm long, 200 mm wide with minimum distances of 37 mm from wall face with concleaed fitting arrangement of approved quality and colour , weighing not less than 88 gms
	1 nos
	Each 
	
	

	33
	Distempering with oil bound washable distemper of approved brand and manufacture to given an even shade. 

Old work (One or more coats) 
	98.4
	Sqm
	
	


Engineer (Civil)







Dy. Chief Executive

Conditions: 

1. The Quotationer must visit the site before giving the offer.

2. The work will be carried out on per latest CPWD specifications. 

3. The time of completion will be 07 days from the date of issue of work order. 

